Rapporteur and co-rapporteur day <106*><150> joint response assessment report

*in case of accelerated assessment for procedures starting from September 2016 onwards

Overview

Consultation on an ancillary medicinal substance incorporated in a medical device

Medical device: <Name>

Ancillary medicinal substance: <Name>

EMEA/H/D/<XXX>

Applicant: <Name of notified body>

| Rapporteur: |  |
| --- | --- |
| Co-Rapporteur: |  |
| EMA EPL: |  |
| EMA PM: |  |
| Start of the procedure: |  |
| Date of this report: |  |
| Deadline for comments: |  |

Table of contents

1. Recommendation	6

2. Executive summary	6

2.1. Problem statement	6

2.2. About the product	6

2.3. Type of application and other comments on submitted dossier	6

3. Scientific overview and discussion	6

3.1. General information	7

3.2. Quality documentation	7

3.2.1. Inspection status	7

3.2.2. For the ancillary medicinal substance or the ancillary human blood derivative itself	7

3.2.3. For the ancillary medicinal substance or the ancillary human blood derivative as incorporated in the medical device	7

3.2.4. Discussion and conclusion on <chemical, pharmaceutical and biological aspects>	7

3.3. Non-clinical documentation	7

3.3.1. Discussion and conclusion on the non-clinical documentation	8

3.4. Clinical evaluation	8

3.4.1. Usefulness of the ancillary medicinal substance incorporated in the medical device as verified by notified body	8

3.4.2. Clinical safety of the ancillary medicinal substance incorporated in the medical device	8

3.4.3. Clinical benefit/risk profile of the ancillary medicinal substance incorporated in the medical device	8

3.4.4. Discussion and conclusion on the clinical evaluation	8

4. Overall conclusions	8

5. Proposed list of outstanding issues to be addressed in writing <and/or an oral explanation>	9

5.1. Quality aspects	9

5.1.1. For the ancillary medicinal substance or the ancillary human blood derivative itself	9

5.1.2. For the ancillary medicinal substance or the ancillary human blood derivative as incorporated in the medical device	9

5.2. Non-clinical aspects	9

5.3. Clinical aspects	10

6. <Remarks to the notified body>	10

7. <Recommended measures to the notified body>	10

Administrative information

| Invented name of medical device: | <Name> |
| --- | --- |
| INN (or common name) of the ancillary medicinal substance: | <INN/Common name> |
| Applicant for medical device CE certification: | <Name> |
| Notified body: | <Name> |
| Applied intended purpose of the device: | <Description> |
| Intended purpose of the ancillary medicinal substance in the device: | <Description> |
| Pharmaceutical form(s) and strength(s) of the ancillary medicinal substance: | <Description> |
| Rapporteur’s contact person: EMA Product Lead: Procedure Manager: | <Name> Tel: Fax: E-mail: <Name> Tel: Fax: E-mail: <Name> Tel: Fax: E-mail: |
| Names of the Rapporteur’s assessors: (Internal and external) | <Name> Tel: Fax: E-mail: |
| Names of the Co-Rapporteur’s assessors: (Internal and external) | <Name> Tel: Fax: E-mail: |

Declarations

The assessor confirms that proprietary information on, or reference to, third parties (e.g. ASMF holder) or products are not included in this assessment, unless there are previous contracts and/or agreements with the third party(ies).

The assessor confirms that reference to ongoing assessments or development plans for other products is not included in this assessment report.

Whenever the above box is un-ticked please indicate section and page where confidential information is located here:

LIST OF ABBREVIATIONS

- Recommendation

Based on the review of the submitted data and the Applicant’s response to the CHMP LoQ, the Rapporteurs consider that the claim for quality and safety including the clinical benefit/risk profile of <Name of ancillary substance> as a component of the medical device <Name of medical device>

<is approvable> <The Rapporteurs also highlight some <remarks to the notified body> <and> <recommended measures to the notified body>. <See sections <6> <and> <7>.>

<could be approvable provided that satisfactory answers are given to the "other concerns" as detailed in the preliminary List of Outstanding Issues.> <The Rapporteurs also highlights some <remarks to the notified body> <and> <recommended measures to the notified body. See section<s> <6> <and> <7>.>

<is not approvable since "major objections" still remain, which preclude a recommendation for a positive opinion at the present time. The details of these major objections are provided in the list of questions (see section 5).>

Questions to be posed to additional experts

Inspection issues

- Executive summary

  - Problem statement

  - About the product

  - Type of application and other comments on submitted dossier

Indicate if the applicant has requested accelerated assessment and the fulfilment of relevant criteria.

<The CHMP <agreed> <did not agree> to the applicant’s request for an accelerated assessment as the product was <not> considered to be of major public health interest. This was based on {include summary of reasons for accepting or rejecting accelerated assessment}.>

If the accelerated assessment is no longer appropriate the (Co)Rapporteur should propose to  revert to standard timetable: <However, during assessment the (Co) Rapporteur concluded that it is no longer appropriate to pursue accelerated assessment, as {include summary of reasons for reverting to standard timetable}.>

- Scientific overview and discussion

[The structure of this AR is in accordance with the Day 120 LoQ and shall be updated at the different stages of the CHMP review (Day 180/CHMP AR/CPAR – consultation procedure public AR) so as to constitute a self standing document.

It should therefore be sufficiently detailed to eventually be used for a positive/negative opinion on the CHMP AR and CPAR and give sufficient justifications for the LoQ/LoOI as appropriate.

Tables and graphs to display results are encouraged.]

  - General information

  - Quality documentation

    - Inspection status

[Note: Include comments on the documentation provided regarding GMP compliance and manufacturing licenses of the manufacturing sites of the ancillary medicinal substances.]

    - For the ancillary medicinal substance or the ancillary human blood derivative itself

Drug substance

Drug product

<Adventitious agents’ safety>

[Include relevant headings concerning the documentation provided in line with the format of Volume 2B, CTD of NTA (Module 2.3 and Module 3)]

    - For the ancillary medicinal substance or the ancillary human blood derivative as incorporated in the medical device

[Include relevant heading from MEDDEV 2.1/3 rev. 3, Section C.3, 2) b)]

    - Discussion and conclusion on <chemical, pharmaceutical and biological aspects>

  - Non-clinical documentation

[Include relevant heading from MEDDEV 2.1/3 rev. 3, Section C.3, 3)]

    - Discussion and conclusion on the non-clinical documentation

  - Clinical evaluation

    - Usefulness of the ancillary medicinal substance incorporated in the medical device as verified by notified body

[Note: The usefulness of the ancillary medicinal substance in the medical device should be addressed by clinical evaluation or by cross-reference to other sections of the dossier, as applicable.]

    - Clinical safety of the ancillary medicinal substance incorporated in the medical device

[Note: The clinical safety data provided by the notified body to the competent authority will address the safety of the medical device in its entirety]

    - Clinical benefit/risk profile of the ancillary medicinal substance incorporated in the medical device

    - Discussion and conclusion on the clinical evaluation

- Overall conclusions

[Note: This section refers to the overall conclusions on the quality and safety, including the clinical benefit/risk profile of the ancillary medicinal substance in the context of its use in the medical device]

- Proposed list of outstanding issues to be addressed in writing <and/or an oral explanation>

  - Quality aspects

    - For the ancillary medicinal substance or the ancillary human blood derivative itself

Major objections

<Drug substance>

<None>

<Drug product>

<None>

<Adventitious agents’ safety>

<None>

Other concerns

<Drug substance>

<None>

<Drug product>

<None>

<Adventitious agents’ safety>

<None>

[Questions concerning the documentation provided in line with the format of Volume 2B, CTD of NTA (Module 2.3 and Module 3)]

    - For the ancillary medicinal substance or the ancillary human blood derivative as incorporated in the medical device

Major objections

<None>

Other concerns

<None>

[Include relevant heading from MEDDEV 2.1/3 rev. 3, Section C.3, 2)]

  - Non-clinical aspects

Major objections

<None>

Other concerns

<None>

[Include relevant heading from MEDDEV 2.1/3 rev. 3, Section C.3, 3)]

  - Clinical aspects

Major objections

<None>

Other concerns

<None>

[Include questions regarding – clinical safety and clinical benefit/risk profile]

- <Remarks to the notified body>

[Remarks to the Notified body include any relevant issues or action to be considered by the Notified body when providing a CE mark]

- <Recommended measures to the notified body>

The Rapporteurs recommend that the notified body request the following from the Medical device manufacturer for device approval:

| Area1 | Description |
| --- | --- |

1 Areas: quality, safety including clinical benefit/risk profile.

Recommended measures to the Notified body include any data that the Notified body may consider requesting to the medical device manufacturer (e.g. submission of a final stability report or notification of out-of-specification results during stability studies). This data will not be reviewed by the European Medicines Agency]