[image: image1.png]O

EUROPEAN MEDICINES AGENCY

SCIENCE MEDICINES HEALTH





London, <insert full date>

<insert Doc. Ref.:>
Committee for Medicinal Products for Human Use (CHMP)

<DRAFT>CHMP day <120*><180> list of outstanding issues 
*in case of accelerated assessment for procedures starting from September 2016 onwards

Consultation on an ancillary medicinal substance incorporated in a medical device
Medical device: <Name>
Ancillary medicinal substance: <Name>
EMEA/H/D/<XXX>
Applicant: <Name of notified body>
Table of contents
51. Recommendation


52. Executive summary


52.1. Problem statement


52.2. About the product


52.3. Type of application and other comments on submitted dossier


53. Scientific overview and discussion


53.1. General information


53.2. Quality documentation


53.2.1. Inspection status


53.2.2. For the ancillary medicinal substance or the ancillary human blood derivative itself


63.2.3. For the ancillary medicinal substance or the ancillary human blood derivative as incorporated in the medical device


63.2.4. Discussion and conclusion on <chemical, pharmaceutical and biological aspects>


63.3. Non-clinical documentation


63.3.1. Discussion and conclusion on the non-clinical documentation


63.4. Clinical evaluation


63.4.1. Usefulness of the ancillary medicinal substance incorporated in the medical device as verified by notified body


63.4.2. Clinical safety of the ancillary medicinal substance incorporated in the medical device


63.4.3. Clinical benefit/risk profile of the ancillary medicinal substance incorporated in the medical device


63.4.4. Discussion and conclusion on the clinical evaluation


64. Overall conclusions


75. List of outstanding issues to be addressed in writing <and/or an oral explanation>


75.1. Quality aspects


75.1.1. For the ancillary medicinal substance or the ancillary human blood derivative itself


75.1.2. For the ancillary medicinal substance or the ancillary human blood derivative as incorporated in the medical device


75.2. Non-clinical aspects


85.3. Clinical aspects


86. <Remarks to the notified body>


87. <Recommended measures to the notified body>




Administrative information
	Invented name of medical device:
	<Name>

	INN (or common name) of the ancillary medicinal substance:
	<INN/Common name>

	Applicant for medical device CE certification:
	<Name>

	Notified body:
	<Name>

	Applied intended purpose of the device:
	<Description>

	Intended purpose of the ancillary medicinal substance in the device:
	<Description>

	Pharmaceutical form(s) and strength(s) of the ancillary medicinal substance:
	<Description>

	Rapporteur’s contact person:

EMA Product Lead:
Procedure Manager:
	<Name>
Tel:      
Fax:      
E-mail:      
<Name>
Tel:      
Fax:      
E-mail:      
<Name>
Tel:      
Fax:      
E-mail:      

	Names of the Rapporteur’s assessors:

(Internal and external)
	<Name> 

Tel:      
Fax:      
E-mail:      

	Names of the Co-Rapporteur’s assessors:

(Internal and external)
	<Name> 

Tel: 
Fax: 
E-mail: 


Declarations

 The assessor confirms that proprietary information on, or reference to, third parties (e.g. ASMF holder) or products are not included in this assessment, unless there are previous contracts and/or agreements with the third party(ies).

 The assessor confirms that reference to ongoing assessments or development plans for other products is not included in this assessment report.
Whenever the above box is un-ticked please indicate section and page where confidential information is located here: 

LIST OF ABBREVIATIONS
1.  Recommendation
Based on the review of the submitted data and the Applicant’s response to the CHMP LoQ, the CHMP considers that the claim for quality and safety including the clinical benefit/risk profile of <Name of ancillary substance> as a component of the medical device <Name of medical device> 

<is approvable> <The CHMP also highlights some <remarks to the notified body> <and> <recommended measures to the notified body>. <See sections <6> <and> <7>.>

<could be approvable provided that satisfactory answers are given to the "other concerns" as detailed in the preliminary List of Outstanding Issues.> <The CHMP also highlights some <remarks to the notified body> <and> <recommended measures to the notified body. See section<s> <6> <and> <7>.>

<is not approvable since "major objections" still remain, which preclude a recommendation for a positive opinion at the present time. The details of these major objections are provided in the list of questions (see section 5).> 
Questions to be posed to additional experts
Inspection issues

GMP inspection(s)

[For requested GMP inspections with outstanding outcome on Day 180]

<A request for GMP inspection has been adopted for the following site(s) in order to verify the GMP compliance status.  The outcome of this/these inspection(s) is required for the Committee to complete its examination of the application and will be needed by Day 181.>

GCP inspection(s)

[For requested GCP inspections with outstanding outcome on Day 180]

<A request for GCP inspection has been adopted for the following clinical study(ies) <enter study number(s)>.  The outcome of this inspection and the satisfactory responses to its findings are an integral part of this procedure and will be needed by Day 181.>

2.  Executive summary

2.1.  Problem statement
<text>
2.2.  About the product

<text>
2.3.  Type of application and other comments on submitted dossier

Indicate if the applicant has requested accelerated assessment and the fulfilment of relevant criteria. See relevant CHMP guideline pursuant to article 14(9) of Regulation (EC) No 726/2004
<The CHMP <agreed> <did not agree> to the applicant’s request for an accelerated assessment as the product was <not> considered to be of major public health interest. This was based on {include summary of reasons for accepting or rejecting accelerated assessment}.>

If the accelerated assessment is no longer appropriate the CHMP should propose to revert to standard timetable: <However, during assessment the CHMP concluded that it is no longer appropriate to pursue accelerated assessment, as {include summary of reasons for reverting to standard timetable}.>
3.  Scientific overview and discussion

3.1.  General information

<text>
3.2.  Quality documentation

<text>
3.2.1.  Inspection status

 [Note: Include comments on the documentation provided regarding GMP compliance and manufacturing licenses of the manufacturing sites of the ancillary medicinal substances. Please note that this procedure does not trigger any inspection of the manufacturing sites]

3.2.2.   For the ancillary medicinal substance or the ancillary human blood derivative itself
Drug substance
<text>
Drug product
<text>
<Adventitious agents’ safety>
[Include relevant headings concerning the documentation provided in line with the format of Volume 2B, CTD of NTA (Module 2.3 and Module 3)]

<text>
3.2.3.  For the ancillary medicinal substance or the ancillary human blood derivative as incorporated in the medical device

[Include relevant heading from MEDDEV 2.1/3 rev. 3, Section C.3, 2) b)]

<text>
3.2.4.  Discussion and conclusion on <chemical, pharmaceutical and biological aspects>
<text>
3.3.  Non-clinical documentation

[Include relevant heading from MEDDEV 2.1/3 rev. 3, Section C.3, 3)]

<text>
3.3.1.  Discussion and conclusion on the non-clinical documentation
<text>
3.4.  Clinical evaluation
<text>
3.4.1.  Usefulness of the ancillary medicinal substance incorporated in the medical device as verified by notified body
[Note: The usefulness of the ancillary medicinal substance in the medical device should be addressed by clinical evaluation or by cross-reference to other sections of the dossier, as applicable.]

<text>
3.4.2.  Clinical safety of the ancillary medicinal substance incorporated in the medical device
[Note: The clinical safety data provided by the notified body to the competent authority will address the safety of the medical device in its entirety]

<text>
3.4.3.  Clinical benefit/risk profile of the ancillary medicinal substance incorporated in the medical device
<text>
3.4.4.  Discussion and conclusion on the clinical evaluation
<text>
4.  Overall conclusions
[Note: This section refers to the overall conclusions on the quality and safety, including the clinical benefit/risk profile of the ancillary medicinal substance in the context of its use in the medical device]

<text>
5.  List of outstanding issues to be addressed in writing <and/or an oral explanation>
5.1.  Quality aspects

5.1.1.   For the ancillary medicinal substance or the ancillary human blood derivative itself
Major objections
<Drug substance>

<Drug product>
Other concerns
<Drug substance>
<Drug product>
[Questions concerning the documentation provided in line with the format of Volume 2B, CTD of NTA (Module 2.3 and Module 3)]

5.1.2.  For the ancillary medicinal substance or the ancillary human blood derivative as incorporated in the medical device

Major objections
<None>

Other concerns
<None>

[Include relevant heading from MEDDEV 2.1/3 rev. 3, Section C.3, 2)]

5.2.  Non-clinical aspects

Major objections
<None>

Other concerns
<None>

[Include relevant heading from MEDDEV 2.1/3 rev. 3, Section C.3, 3)]

5.3.  Clinical aspects

Major objections
<None>

Other concerns
<None>

[Include questions regarding – clinical safety and clinical benefit/risk profile]

6.  <Remarks to the notified body>
[Remarks to the Notified body include any relevant issues or action to be considered by the Notified body when providing a CE mark]
<text>
7.  <Recommended measures to the notified body>

The CHMP would recommend that the notified body request the following from the medical device manufacturer for device approval:
	Area1
	Description

	
	

	
	


1 Areas: quality, safety including clinical benefit/risk profile.
Recommended measures to the Notified body include any data that the Notified body may consider requesting to the medical device manufacturer (e.g. submission of a final stability report or notification of out-of-specification results during stability studies). This data will not be reviewed by the European Medicines Agency]
<text>
	

	30 Churchill Place ● Canary Wharf ● London E14 5EU ● United Kingdom
	An agency of the European Union  
[image: image2.png]





	Telephone

+44 (0)20 3660 6000

Facsimile

+44 (0)20 3660 5555

Send a question via our website www.ema.europa.eu/contact


	

	

	© European Medicines Agency, 2016. Reproduction is authorised provided the source is acknowledged.


	<Name of medical device>

	<DRAFT>CHMP day <120*><180> list of outstanding issues IF  <> "Error*"<DRAFT>CHMP day <120*><180> list of outstanding issues \* MERGEFORMAT 
<DRAFT>CHMP day <120*><180> list of outstanding issues
 
	

	Rev 10.16 
	Page 7/7



[image: image1.png][image: image2.png]